Lines and monitoring

Based on limited evidence but strong expert panel recommendations, the insertion of invasive arterial and central venous pressure monitoring as well as high flow venous cannulae was recommended as a minimum standard in the ERAS4OLT systematic review. This accounts for the need for continuous monitoring of haemodynamic parameters, infusion of vasoactive drugs, fluids and blood products, and the low rate of line-related complications reported in multiple studies. There is not enough evidence to strongly recommend which site should be chosen for arterial line insertion, hence we recommend that each centre considers this in the context of established local practices and likelihood of significant haemodynamic instability during the operation.

Advanced haemodynamic monitoring, with modalities including pulmonary artery catheterisation (PAC) and transoesophageal echocardiography (TOE), may be needed in some patients who are higher risk, have comorbidities such as hepatopulmonary syndrome or cardiac dysfunction, or become haemodynamically unstable during their operation. The rate of complications associated with both of these interventions in liver transplant recipients is low and acceptable if the benefit is thought to be significant. Non-invasive cardiac monitoring devices have not yet been demonstrated to provide equivalence to PAC or TOE, and future research is required in this field.

Bibliography

- Fernandez TMA, Schofield N, Krenn CG, Rizkalla N, Spiro M, Raptis DA, et al. What is the optimal anesthetic monitoring regarding immediate and short‐term outcomes after liver transplantation?—A systematic review of the literature and expert panel recommendations. Clinical Transplantation [Internet]. 2022 Oct [cited 2025 Aug 15];36(10). Available from: https://onlinelibrary.wiley.com/doi/10.1111/ctr.14643